## Supplier Quotation
SUPPLIER QUOTATION — HOUSTON PUMP SOLUTIONS
RFQ Reference: RFQ-WWT-2026-0847 ¦ Source: Existing Supplier ¦ Quote Date: 2026-08-28
VENDOR: |  |  | PREPARED FOR:
Houston Pump Solutions |  |  | Veolia Water Technologies
12330 Cutten Rd, Houston, TX 77066, USA |  |  | Operations / Procurement
quotes@houstonpumpsolutions.com |  |  | Delivery: Houston, Texas, USA
+1 (281) 555-0374 |  |  | RFQ: RFQ-WWT-2026-0847
Item / Description | Model | Qty | Unit | Unit Price (USD) | Extended Total (USD)
Chemical Dosing Pump Assembly — Sodium Hypochlorite / Water Treatment | HPS-CM120-PTFE-7B | 12 | Units | 4950 | 59400
Spec: Motor-driven metering pump ¦ 0–120 L/hr ¦ ≥7 bar ¦ PVDF/PTFE ¦ 460V/3Ph/60Hz ¦ NEMA 4X ¦ 4–20mA
Freight / Shipping |  |  |  |  | Included
TOTAL CONTRACT VALUE (USD): |  |  |  |  | 59400
COMMERCIAL TERMS:
Unit Price | $4,950.00 per pump
Extended Price | $59,400.00 (12 units)
Lead Time | 22 calendar days from PO confirmation
Payment Terms | Net 45
Incoterms | DAP Houston, TX
Warranty | 24 months from delivery date
Quote Validity | 60 days
Spare Parts | Available — 2-year stocking agreement optional
After-Sales Support | 24/7 technical helpline + site commissioning
Country of Origin | USA
NOTE: 1-day over 21-day requirement. PTFE wetted materials. Includes O&M manual and drawings.